## Sheet1
No. | Application No. | Empanelled Agency | Beneficiary Name | Gender | Applicant Type | Category | Mobile No. | Aadhar Authentication Status | Village Of Installation | District Of Installation | Required Pump | Pump Sub Type | Pump Capacity (HP) | SPV Modules Capacity in kWp | Pump Make | Module Make | VFD/Control Make | RMS Work Condition | System Installed Date | System Inspected Date | System Inspected By | CFA in INR | SFA in INR | Beneficiary Share In INR | Total Pump Cost | Sanction | Reference RMS Lat. | Reference RMS Long. | Latest RMS Lat. | Latest RMS Long. | Latest RMS Lat-Long Timestamp | Distance B/W first Lat-Long and Latest Lat-Long (in meters) | Timestamp | Network Strength | Pump State | Current Generation (kW) | Total Solar Generation (kWh) | Today Run Hours | Total Pump Run Hrs | Today Water Discharged (Liters) | Total Water Discharged (Liters) | Location Status
1 | SWPS/2019/00043 | Tata Power Solar Systems Limited | Mahender Singh | Male | Farmer | General | 8685902703 | Yes | Kharkhari(37) | HISAR | AC | Submersible | 10 | 9 | M/s Oswal Pumps Limited | M/s PV Power Technologies Ltd | M/s Oswal Pumps Ltd. | Yes | 07-12-2022 | 07-12-2022 | Indraj Singh | 1,00,632.00 | 2,29,335.00 | 1,09,989.00 | 4,39,956.00 | Sanction 1 | 29.211952 | 75.850981 | 29.211952 | 75.850981 | 17-02-2023 16:04:30 | 0.00 | 17-02-2023 16:04:30 | 31 | STOP | 0.00 | 3.35 | 296.37 | 3.43 | 329.18 | 45,715.00 | MATCHED